## EIR
Facility Management Program
Project Name: NWC-HQ Data Center | Location: King Fahad Road, Riyadh, KSA | Computer Room Management Policies EQUIPMENT INSTALLATION REQUEST |  |  |  | Ref : F-COR-00 Version: 1 Date of Release: 01/06/2016
EIR #: |  |  | Request Date: | 2018-05-02 | Valid Until: | 2018-05-03 |  | PDM | Major
Requester Name: | rolly |  | Mobile/Extension Number: | 4169 | Site Survey Reference:
Work Brief Description: | HDD FAILED need replacement CZJ1270GGY / ProLiant BL460c G7 / Q-ENC03
Equipment Information
Equipment Name (Label): | HP ProLiant CZ3435BJAL |  |  |  | Model: | ProLiant BL Server
Redundancy: |  |  | Manufacturer: |  |  | Weight (kg):
Equipment Dimensions (mm): | Width: |  | Depth: |  | Height:
Power Requirement
Voltage (V): |  | Current (A): |  | KVA: |  | KW:
No. of Phases: |  | No. of CB/Fuse: |  | Socket type: |  | No. of Socket:
Heat Dissipations (W):
Remarks: | Server Enhancement
Equipment Location
Room number: |  | Row Number: |  | Cabinet Number: | PROD | U Position: | 14-13
Implementation
Label |  | PDU |  | CB no. |  | CB Rate
Installation Date: |  |  |  | Downtime Required?
Authorization
IT Operation Supervisor: | Nasser Al-harbi |  |  | IT Operation Supervisor Signature:
FM Supervisor: | Mohammed Al-qarni |  |  | FM Supervisor Signature:
Required
Not Required
Yes
No

## IT_Work_Order
Location: King Fahad Road, Riyadh, KSA |  | Computer Room Management Policies IT WORK ORDER
Ref : F-COR-01 Version: 1 Date of Release: 06/06/2016
Installation
WORK ORDER INFORMATION |  |  |  |  | Relocation
IT WO#: |  |  | Expected Labor Time Needed: | 1HOUR | Change
Date Assigned: | 2018-05-02 |  | Scheduled Work Window: |  | Other
Work Type: | Other |  | Other, Specify: | HDD FAILED need replacement CZJ1270GGY / ProLiant BL460c G7 / Q-ENC03
PTW #: |  |  | Material In/Out Access Request#:
Supported Documents Required:
NWC HQ DC Work Rules in Computer Rooms should be respected at all time
TASKS TO BE PERFORMED
HDD FAILED need replacement CZJ1270GGY / ProLiant BL460c G7 / Q-ENC03
IT WO AUTHORIZATION
System Infrastructure Manager Name: | Ahmed I. Almutairi |  | System Infrastructure Manager Signature:
FEEDBACKS & REMARKS
Server Enhancement
LABOR INFORMATION & VALIDATION
Date Completed: | 2018-05-02 | Start Time: | 4:00pm | IT Operation Supervisor Signature:
IT Resource Name: | rolly | End Time: | 5:00pm
IT Resource Signature:

## Permit_to_Work
Facility Management Program
Project Name: NWC-HQ Data Center | Location: King Fahad Road, Riyadh, KSA | Security Management Policies PERMIT TO WORK |  |  | Ref : F-SEC-01 Version: 1 Date of Release: 07/06/2016
PTW#: |  |  |  | Start Date: | 2018-05-02 |  | Select | PDM | Major
Duration of Work, From: | 1HOUR |  |  | Valid Until: | 2018-05-03 |  | Preventive Maintenance | RCM
Work Order Reference no.: |  |  |  | EIR Reference no.:
Type of Work: | Installation |  | Other, Specify: |  | Area of Work: | Server | Corrective Maintenance
Requester Name: | rolly |  |  | Mobile/Ext. Number: | 4169 |  | Installation
Removal
Vendor Company Name: |  |  |  | No. of Engineers/Technicians: |  | 1 | Other
Engineers/Technicians: | Name |  |  | Mobile Number
| rolly |  |  | 4169
Any part or consumable delivery?
If Yes, Delivery Description:
Work Brief Description: | HDD FAILED need replacement CZJ1270GGY / ProLiant BL460c G7 / Q-ENC03
Acknowledge of Engineers/Technicians: | I have received PTW and understood the limits of the works with full consideration of National Water Company Headquarter Data Center general work rules mentioned on the back of this PTW. I agree to follow these rules and, to the best of my ability, I will make every effort to avoid accidents and mistakes, which will result in downtime.
| Date: |  |  | 2018-05-02
| Name |  |  | Signature
rolly
Authorization
IT Operation Supervisor: | Nasser Alharbi |  |  | Signature:
System Infrastructure Manager: | Ahmed I. Almutairi |  |  | Signature:
Security Supervisor: |  |  |  | Signature:
Yes
No